Categories

Energy Conservation Measures

Controls

HVAC

Insulation

VFD’s

Lighting not included in recent Eff ME Grant

Natural Gas Pipeline

Boiler Replacement

Longer Range

Biomass

Cogeneration

Geothermal

Solar Thermal

Waste water ground source heat pump

Wind Turbine

NG vehicles

Council Request

Recommendation

Description

Costs

Benefits

Financial

Annual savings

Simple Payback

Environmental

CO2 Savings

Risks

Consequences of no action

Replace Inherently Inefficient Boilers at the High School.

Description

- Boilers are oversized by a factor of 2 resulting in excessive losses and energy consumption.

- Boilers are past design service life by 25 years.

- Maintenance costs are several times greater than new boiler costs.

- Potential for loss of heating system during winter could result in extended  school closure and high remediation costs

- Replacement boiler will have dual fuel capabilities (oil/natural gas)

Costs									$285,000

Benefits

- Annual Savings (Cost Avoidance)				$41,500

- Simple Payback						7.0  years

- CO2 Savings							xx tons/year

- Fuel flexibility, if gas pipeline gets extended

- Reduced reliance  on foreign oil

Risks

- Price escalation

- No other significant risks identified

Consequences of Status Quo

- Continue to pay excess annual costs due to inefficient system

- Risk of untimely system failure resulting in closure of school and excessive costs

- Oil price increases results in greater losses

- Savings/Payback analysis based on $2.45/gal

Implement Identified Energy Conservation Measures in School and Municipal Buildings

Description

- Upgrade 20 year old building automation system schools

- Install occupancy and CO2 sensors through all facilities

- Improve HVAC motor efficiencies with variable frequency drives

- Improve wall and ceiling insulation in  various buildings

Costs									$290,675

Benefits

- Annual Savings (Cost Avoidance)				$50,578

- Simple Payback						5.7  years

- CO2 Savings							xx tons/year

- Improved building comfort

- Reduced reliance  on foreign oil

Risks

- Price escalation

- No other significant risks identified

Consequences of Status Quo

- Continue to pay excess annual costs due to building heat losses

- Oil price increases results in greater losses

- Savings/Payback analysis based on $2.45/gal

Extend Natural Gas Pipeline to Town Center

Description

- Existing gas main would need to be extended one mile to town center from intersection of Ocean House and State Road

- Preliminary talks ongoing between Town and Unitil about extending line

- Natural gas unit energy costs lower than oil and forecasted to remain lower

- Boiler maintenance costs are lower with gas than oil

- Emissions are lower with natural gas than oil

- Replacement boiler will have dual fuel capabilities (oil/natural gas)

Costs									$285,000

Benefits

- Annual Savings (Cost Avoidance)				$41,500

- Simple Payback						7.0  years

- CO2 Savings							xx tons/year

- Fuel flexibility, if gas pipeline gets extended

- Reduced reliance  on foreign oil

Risks

- Price escalation

- No other significant risks identified

Consequences of Status Quo

- Continue to pay excess annual costs due to inefficient system

- Risk of untimely system failure resulting in closure of school and excessive costs

- Oil price increases results in greater losses

- Savings/Payback analysis based on $2.45/gal

Implement Longer Range Alternatives.

Description

- Boilers are oversized by a factor of 2 resulting in excessive losses and energy consumption.

- Boilers are past design service life by 25 years.

- Maintenance costs are several times greater than new boiler costs.

- Potential for loss of heating system during winter could result in extended  school closure and high remediation costs

- Replacement boiler will have dual fuel capabilities (oil/natural gas)

Costs									$285,000

Benefits

- Annual Savings (Cost Avoidance)				$41,500

- Simple Payback						7.0  years

- CO2 Savings							xx tons/year

- Fuel flexibility, if gas pipeline gets extended

- Reduced reliance  on foreign oil

Risks

- Price escalation

- No other significant risks identified

Consequences of Status Quo

- Continue to pay excess annual costs due to inefficient system

- Risk of untimely system failure resulting in closure of school and excessive costs

- Oil price increases results in greater losses

- Savings/Payback analysis based on $2.45/gal